## Standard Inventory v1.0
Part Numer (2026) | Part name | Former P/N | Analyzer | Brand | HAN Min | HAN Max | HCM Min | HCM Max
10046286BS | CAPILLARY CARTRIDGE | 10046286S | CAP2, CAP2 FP, MINICAP FP | Sebia | 8 | 15 | 8 | 13
10059286S | CAPILLARY CARTRIDGE |  | OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 4 | 8 | 7 | 12
10068286S | C3 DBS CAPILLARY CARTRIDGE |  | DBS | Sebia | 6 | 12 | 0 | 0
10052760BS | FRONT ELECTRODE (ANODE) | 10052760A; 10052760B | MINICAP FP | Sebia | 2 | 3 | 1 | 3
10052C32CS | MCP FP PRESSURE SENSOR #32 |  | MINICAP FP | Sebia | 2 | 3 | 1 | 3
10052370CS | S-T DEUTERIUM LAMP | 10052370BS | CAP2, CAP2 FP, DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA, MINICAP FP | Sebia | 1 | 2 | 1 | 2
10052281BS | CATHODE TANK | 10052281B | MINICAP FP | Sebia | 1 | 2 | 1 | 2
31004551AS | KEYED ANODE TANK | 31004551; 31004551A | DBS, TERA, TERA EVO, TLA | Sebia | 1 | 2 | 1 | 2
51130087S | SYRINGE EC2/LAMP EC3 SHOCK ABS | 51130087 | CAP2, CAP2 FP, DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA, MINICAP FP | Sebia | 1 | 1 | 1 | 1
10068020S | C3 DBS CAPILLARIES PELTIER | 10068020 | DBS | Sebia | 1 | 2 | 0 | 0
10052232AS | MCP/FP SHAKER PCB |  | MINICAP FP | Sebia | 1 | 2 | 1 | 1
10052D00BS | MCP FP MOTOR BOARD |  | MINICAP FP | Sebia | 1 | 1 | 1 | 1
31004410BS | CAPI 3 SAMPLE PROBE SIDE HOLE | 31004410; 31004410S; 31004410AS | OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 1 | 1 | 1 | 1
10059223ES | C3 AIR MANIFOLD ASSEMBLY | 10059223C; 10059223D; 10068242A; 10068242; 10059223E | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 0 | 0 | 1 | 1
10060245S | TUBING #38 PROTECTION KIT | 10060245 | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 1 | 2 | 0 | 0
10059057S | C3 PRESSURE PCB |  | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 0 | 1 | 1 | 1
31004481S | MALE COUPLING | 31004481 | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 0 | 0 | 1 | 1
10052208S | MCP/FP ABSOLUTE ENCODER |  | MINICAP FP | Sebia | 1 | 1 | 1 | 1
10052233BS | REAGENT CUP SHAKER MOTOR >1750 S4 | 10052233A; 10052233AS | MINICAP FP | Sebia | 1 | 1 | 1 | 1
10052C33S | TEMPERATURE SENSOR | 10052C33 | MINICAP FP | Sebia | 1 | 1 | 1 | 1
10059053AS | POWER PCB |  | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 1 | 1 | 1 | 1
10059C24BS | SENSOR 24 (CATHODE TANK LEVEL) | 10059C24; 10059C24B | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 0 | 1 | 1 | 1
10059C32AS | C3 SENS.32 CATHO TANK OVERFLOW | 10059C32S | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 0 | 0 | 1 | 1
45360043AS | C3 EVO DEUTERIUM LAMP SHUTTER | 45360043; 45360043S | DBS, OCTA EVO, TERA EVO | Sebia | 0 | 0 | 1 | 1
10059042BS | C3 MOTOR PCB |  | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA, CHARGEUR, CONVOYEUR | Sebia | 1 | 1 | 1 | 1
10059C35S | C3 SENSOR 35 (CAPILLARY Tø) | 10059C35 | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 1 | 1 | 0 | 0
10067283AS | C3T DBS CENTERED CATHODE TANK | 10068283AS; 10067283S; 10059283S; 10059283AS | DBS, TERA, TERA EVO, TLA | Sebia | 1 | 1 | 0 | 0
10068288S | C3T/DBS CENTERED FRONT ELECTRODE | 10059288AS | DBS, TERA, TERA EVO, TLA | Sebia | 1 | 1 | 0 | 0
10069283AS | C3O CENTERED CATHODE TANK | 10066281AS; 10069283S | OCTA, OCTA EVO | Sebia | 0 | 0 | 1 | 1
31003064BS | SYRINGE NUT FOR ENDLESS SCREW | 31003064A; 31003064B | MINICAP FP | Sebia | 1 | 1 | 0 | 0
31004865S | RACK HOLDER FOR DILUTION POS. | 31004865 | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 0 | 0 | 1 | 1
31005396AS | C3O UNREMOVABLE OPT RECEPT FIBER | 10066285AS; 10066285BS | OCTA, OCTA EVO | Sebia | 0 | 0 | 1 | 1
40000560S | C3/MCP CHECK VALVE | 40000560 | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA, MINICAP FP | Sebia | 1 | 1 | 0 | 0
10052201BS | TUBING KIT | 10052201B | MINICAP FP | Sebia | 0 | 0 | 1 | 1
10052207BS | MCP/FP MOTHER BOARD |  | MINICAP FP | Sebia | 0 | 0 | 1 | 1
10059011AS | C3 EV5 WITH CABLE (TYPE 40) | 10059011S | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 0 | 0 | 1 | 1
10059038AS | DBS/TERA/OCTA MOTHER PCB | 10066038S; 10067038S; 10068038S; 10069038S; 10059038S | DBS, OCTA, OCTA EVO, TERA, TERA EVO | Sebia | 1 | 1 | 0 | 0
10059074BS | C3 INTERFACE LOADER (2) PCB | 10059074B | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 0 | 0 | 1 | 1
10059282AS | C3 PULL ELECTROMAGNET W/ CAP | 10059282S | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 0 | 0 | 1 | 1
10066C24S | SENSOR #24 CATHODE TANK LEVEL |  | OCTA, OCTA EVO | Sebia | 0 | 0 | 1 | 1
31003910AS | C3 WASH STATION | 31003910; 31003910A | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 0 | 0 | 1 | 1
31003926BS | VALVE INTERFACE COUPLING | 31003926A; 31003926B | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 0 | 0 | 1 | 1
31004833BS | ANODE TANK | 31004833B | OCTA, OCTA EVO | Sebia | 0 | 0 | 1 | 1
40000280S | MOTOR 3 BELT | 40000280 | MINICAP FP, ASSIST | Sebia | 1 | 1 | 0 | 0
41100281AS | MCP/FP SAMP PROBE DETECT CABLE | 41100281; 41100281S | MINICAP FP | Sebia | 0 | 0 | 1 | 1
41100327BS | COAXIAL DCN CABLE V3 | 41100327A; 41100327B | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 0 | 0 | 1 | 1
41100391AS | RACK Z FLAT CABLE | 41100391; 41100391A | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 1 | 1 | 0 | 0
41100393S | ACQUISITION FLAT CABLE | 41100393 | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 1 | 1 | 0 | 0
45360037S | PULL ELECTROMAGNET | 45360037 | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA, CHARGEUR | Sebia | 0 | 0 | 1 | 1
50000057S | ELEVATOR MOTOR SN >250 | 50000057 | MINICAP FP | Sebia | 0 | 0 | 1 | 1
10052130S | MCP/FP REAGENT CUP HOLDER | 10052120; 10052130 | MINICAP FP | Sebia | 1 | 1 | 0 | 0
10052203S | BOOSTER BOARD | 10052203 | MINICAP FP | Sebia | 0 | 0 | 1 | 1
10052204S | HIGH VOLTAGE POWER SUPPLY | 10052204 | MINICAP FP | Sebia | 0 | 0 | 1 | 1
10052850S | MCPFP SAMPLE TUBE MIXING BOARD |  | MINICAP FP | Sebia | 1 | 1 | 0 | 0
10059023S | C3 STD HYDRAULIC PUMP 2 W/CABLE |  | OCTA, TERA, TLA | Sebia | 0 | 0 | 1 | 1
10059062AS | C3 INTERFACE NEEDLE PCB |  | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 0 | 0 | 1 | 1
10059214DS | C3 BARCODE READER ASSEMBLY | 10059214AS | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 1 | 1 | 0 | 0
10059C36BS | SENSOR 36 (REAGENT Tø) | 10059C36; 10059C36A; 10059C36B | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 0 | 0 | 1 | 1
10066284S | C3O EMISSION OPTICAL FIBERS |  | OCTA, OCTA EVO | Sebia | 0 | 0 | 1 | 1
10066289BS | OCTA FRONT ELECTRODE | 10066289AS | OCTA, OCTA EVO | Sebia | 0 | 0 | 1 | 1
31003623AS | ARM Y MAGNETIC STRIP | 31003623A | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 1 | 1 | 0 | 0
31003636AS | ARM Z MAGNETIC STRIP | 31003636; 31003636A | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 1 | 1 | 0 | 0
31003642AS | ARM X MAGNETIC STRIP | 31003542; 31003642A | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 1 | 1 | 0 | 0
31005394AS | C3T UNREMOV. RECEPT OPT FIBER | 10059285BS; 10059285CS | DBS, TERA, TERA EVO, TLA | Sebia | 1 | 1 | 0 | 0
41100487S | NEEDLE ENCODER PCB FLAT CABLE | 41100487 | DBS, OCTA, OCTA EVO, TERA, TERA EVO, TLA | Sebia | 1 | 1 | 0 | 0
50000056S | DISTRIBUTOR AND CAROUSEL MOTOR | 50000056 | MINICAP FP | Sebia | 0 | 0 | 1 | 1
50000092S | VALVES MOTOR (M15-16) | 50000092 | OCTA, TERA, TLA | Sebia | 0 | 0 | 1 | 1
31005395BS | C3T EMISSION OPTICAL FIBERS | 31005395AS; 10059284S | TERA, DBS | Sebia | 1 | 1 | 0 | 0
27029 | 2 CUV LOADER SWITCHES |  | COMPACT | Stago | 0 | 1 | 0 | 1
88815 | BAR CODE READER | 87421; 88342 | COMPACT | Stago | 0 | 1 | 0 | 1
87132 | BELT CONVEYING MOTOR |  | ALL | Stago | 0 | 1 | 0 | 0
39322 | BELT CUVES ADVANCE |  | SATMAX | Stago | 0 | 1 | 0 | 0
27007 | BLOCK OF 3 2-WAY ELECTROVALVE |  | COMPACT | Stago | 0 | 1 | 0 | 1
38755 | BOTTLE GLASS VACUUM RESERVOIR |  | MULTI | Stago | 0 | 1 | 0 | 1
88974 | DRAWER BELT |  | RMAX | Stago | 0 | 1 | 0 | 1
88587 | CHAIN HEAD 1,2,3,4 | 89443 | RMAX | Stago | 0 | 1 | 0 | 1
89369 | COOLING LIQUID | 38640 | COMPACT | Stago | 1 | 3 | 1 | 3
89444 | CPU MEASUREMENT PCB V3 | 89384 | MULTI | Stago | 0 | 1 | 0 | 1
27299 | CUVETTE HOLDING+SPRING |  | COMPACT | Stago | 0 | 1 | 0 | 1
86387 | DC MOTOR PCB V4 - FW 3.03 | 87732 | MULTI | Stago | 0 | 1 | 0 | 1
80132 | DUST FILTER (X3) |  | SATMAX | Stago | 0 | 0 | 0 | 1
80901 | ELECTROVALVE N[1 |  | COMPACT | Stago | 0 | 1 | 0 | 1
87097 | EQUIPED PHOTO. MOTOR SUPPORT |  | MULTI | Stago | 0 | 1 | 0 | 1
80193 | FAN 40X40X10 PCB ETX BOARD |  | COMPACT | Stago | 0 | 1 | 0 | 1
39645 | Peltier assy (satellite) |  | ALL | Stago | 1 | 2 | 1 | 2
80675 | FILTER RINSING ASSY AIR |  | COMPACT | Stago | 0 | 1 | 0 | 1
89463 | HIL LLD CABLE (X1) | 89155; 89466 | RMAX | Stago | 0 | 1 | 0 | 1
89125 | INTERMEDIATE RESERVOIR CAP V2 |  | MULTI | Stago | 0 | 1 | 0 | 1
26699 | LAMP HALOGEN |  | MULTI | Stago | 1 | 2 | 1 | 2
SFH756V | Led Emitter |  | ALL | Stago | 1 | 2 | 1 | 2
80787 | LLD CABLE (X3) | 80785 | RMAX | Stago | 0 | 1 | 0 | 1
80793 | LLD CABLE (X3) | 80792 | COMPACT | Stago | 0 | 1 | 0 | 1
38558 | WASHING WELL NÂ°2/NÂ°3 |  | RMAX | Stago | 0 | 1 | 0 | 1
27165 | MEMBRANES KIT VACUUM PUMP |  | MULTI | Stago | 0 | 1 | 0 | 1
88992 | X2 CONVEYOR BELT |  | RMAX | Stago | 0 | 0 | 0 | 1
89008 | MOTOR DC Y1/Y2 RACK V.2 |  | RMAX | Stago | 0 | 1 | 0 | 0
89003 | MOTOR DC-FRONT PUSHER |  | RMAX | Stago | 0 | 1 | 0 | 1
89004 | MOTOR DC-REAR PUSHER |  | RMAX | Stago | 0 | 1 | 0 | 1
39208 | MOTOR Z DC (PIERCING) |  | MULTI | Stago | 0 | 0 | 0 | 1
86397 | MOTOR-SHUTTLE STOP-DUAL | 88981 | RMAX | Stago | 0 | 1 | 0 | 1
86396 | MOTOR-SHUTTLE STOP-SINGLE | 89007 | RMAX | Stago | 0 | 1 | 0 | 1
39022 | NEEDLE 1 PIERCING V.3 STA-C A |  | COMPACT | Stago | 0 | 0 | 0 | 1
27354 | NEEDLE ARM N 2 WITH NUT |  | COMPACT | Stago | 0 | 1 | 0 | 1
27307 | NEEDLE ARM No.3 WITH NUT |  | MULTI | Stago | 0 | 1 | 0 | 1
38646 | NEEDLE NÂ°1 STANDARD V.2 |  | COMPACT | Stago | 0 | 1 | 0 | 1
39249 | NEEDLE NÂ°1 STANDARD V.3 |  | RMAX | Stago | 0 | 1 | 0 | 1
39250 | NEEDLE NÂ°2 V2 |  | RMAX | Stago | 0 | 1 | 0 | 1
27530 | O RINGS/TEFLON TIPS (X6) |  | MULTI | Stago | 1 | 2 | 1 | 2
80236 | OPTICAL SENSOR + ADAPTORS | 39313 | SATMAX | Stago | 0 | 1 | 0 | 1
89366 | PCB 4 AXIS (MPP4) | 80924; 89303; 89492 | MULTI | Stago | 0 | 1 | 0 | 1
89045 | PCB ADDITIONNAL COMPONENT | 27019 | COMPACT | Stago | 0 | 1 | 0 | 0
88487 | PCB MULTIFUNCTIONS HEAD 3 |  | RMAX | Stago | 0 | 0 | 0 | 1
38136 | PCB MULTIFUNCTIONS V.2 | 27016 | COMPACT | Stago | 0 | 0 | 0 | 1
89329 | I/O POWER PCB V2 | 39692; 39309 | COMPACT | Stago | 0 | 1 | 0 | 1
89066 | PCB POWER I/O V2 | 89511 | RMAX | Stago | 0 | 1 | 0 | 1
88320 | PCB-RACK CONVEYOR DRIVER V3 | 86458; 89440 | RMAX | Stago | 0 | 1 | 0 | 1
88830 | PELTIER KIT V3 (X2) |  | COMPACT | Stago | 2 | 4 | 2 | 4
88984 | PID PCB V3-FW 3.45 | 88858 | COMPACT | Stago | 0 | 1 | 0 | 0
39023 | PIERCING WASHING WELL | 87522 | COMPACT | Stago | 0 | 0 | 0 | 1
89041 | PIPETTING HEAD HEATING PCB | 88623 | COMPACT | Stago | 0 | 1 | 0 | 0
89282 | PSR LIQUID PUMP (X1) |  | MULTI | Stago | 0 | 0 | 0 | 1
89156 | QC PIERCING NEEDLE |  | MULTI | Stago | 1 | 2 | 1 | 2
86385 | SAMPLE JADAK BCR | 87281; 89477 | RMAX | Stago | 0 | 1 | 0 | 0
27002 | SHUTTLE |  | COMPACT | Stago | 0 | 0 | 0 | 1
88979 | SHUTTLE BELT DRIVEN |  | RMAX | Stago | 0 | 1 | 0 | 1
88980 | SHUTTLE BELT DRIVING |  | RMAX | Stago | 0 | 1 | 0 | 1
38960 | SHUTTLE STA-R & STA-R MAX |  | RMAX | Stago | 1 | 3 | 1 | 3
27421 | SUCTION RUBBER HEAD (X2) |  | COMPACT | Stago | 1 | 2 | 1 | 2
87063 | SUCTION TIP V5 (X2) |  | RMAX | Stago | 1 | 2 | 1 | 2
86364 | TUBING PVC S 2,9 x 4,3 L10 | 39278; 87047 | MULTI | Stago | 0 | 1 | 0 | 1
87140 | TURN TABLE-FEEDER-OUTPUT MOTOR |  | ALL | Stago | 0 | 1 | 0 | 0
88848 | TYGON TUBING 1/8X1/4" L20M" | 87044; 87045; 87046 | MULTI | Stago | 0 | 1 | 0 | 1
38055 | VACCUM SWITCH 450mB | 27314 | MULTI | Stago | 0 | 1 | 0 | 1
89124 | VACUUM RESERVOIR V2 | 38757 | MULTI | Stago | 1 | 2 | 1 | 2
38565 | WASHING WELL NÂ°1 |  | RMAX | Stago | 0 | 1 | 0 | 1
39134 | WHEEL TUBE ROTATION |  | RMAX | Stago | 0 | 1 | 0 | 1
89313 | X1 CONVEYOR BELT | 88991 | RMAX | Stago | 0 | 1 | 0 | 1